## Start Here
Performance Log and Maintenance Schedule
Free companion tool to Chapter 7: Living with Your Solar System
How to use it
1. Setup: enter your system size, your location's yearly production per kW, your hemisphere and your first logging month.
2. Monthly Log: once a month, copy three numbers from your app: solar produced, bought from the grid, and exported.
It compares each month with what your system should produce, and with the same month last year, and flags anything unusual.
3. Maintenance: record when you last did each task. It shows what's due soon and what's overdue.
4. Fault Log: keep a record of any faults, error codes and repairs. Useful for warranty claims.
See 'Example Log' for 18 months of a real-looking system, including a month where dirty panels were caught.
What the flags mean
OK: within the normal range. CHECK: more than 10% below expected, or 15% below the same month last year. Look for dirt, shade or a fault.
Cloudy or unusual weather can explain a low month. A run of low months, or a sudden drop, is what to watch for.
Colour key
Yellow cells, blue text: you type here. Grey cells: calculated.

## Setup
Setup
Your system and location
System size (kW of panels) | 7.8
Yearly production per kW (kWh/kW) | 1700
Hemisphere | Southern
Seasonal swing (how much summer beats winter) | 20%
First month you'll log | 2026-11-01
Grid tariff (per kWh) | 3.83
Export rate (per kWh, 0 if none) | 0
Panel output loss per year | 0.5%
Seasonal swing: about 15–25% in sunny regions closer to the equator, 30–40% at mid latitudes, 50–70% in places like the UK.
Yearly production per kW: PVGIS or PVWatts (free online), or the figure in your installer's design.
Month | Share of year (default) | Your own share (optional) | Share used
January | 9.943% |  | 9.943%
February | 9.512% |  | 9.512%
March | 8.765% |  | 8.765%
April | 7.902% |  | 7.902%
May | 7.155% |  | 7.155%
June | 6.723% |  | 6.723%
July | 6.723% |  | 6.723%
August | 7.155% |  | 7.155%
September | 7.902% |  | 7.902%
October | 8.765% |  | 8.765%
November | 9.512% |  | 9.512%
December | 9.943% |  | 9.943%
Total |  |  | 100%
If you enter your own shares (e.g. from PVGIS monthly results), make sure they add up to 100%.

## Monthly Log
Monthly Log
Copy three numbers from your app once a month
Month | Solar produced (kWh) | Bought from grid (kWh) | Exported (kWh) | Notes (weather, cleaning, changes) | Expected solar (kWh) | % of expected | Same month last year (kWh) | Change vs last year | Estimated saving | Check
2026-11-01 |  |  |  |  | 1261.2706
2026-12-01 |  |  |  |  | 1318.4696
2027-01-01 |  |  |  |  | 1318.4696
2027-02-01 |  |  |  |  | 1261.2706
2027-03-01 |  |  |  |  | 1162.199
2027-04-01 |  |  |  |  | 1047.801
2027-05-01 |  |  |  |  | 948.7294
2027-06-01 |  |  |  |  | 891.5304
2027-07-01 |  |  |  |  | 891.5304
2027-08-01 |  |  |  |  | 948.7294
2027-09-01 |  |  |  |  | 1047.801
2027-10-01 |  |  |  |  | 1162.199
2027-11-01 |  |  |  |  | 1254.9642
2027-12-01 |  |  |  |  | 1311.8773
2028-01-01 |  |  |  |  | 1311.8773
2028-02-01 |  |  |  |  | 1254.9642
2028-03-01 |  |  |  |  | 1156.388
2028-04-01 |  |  |  |  | 1042.562
2028-05-01 |  |  |  |  | 943.9858
2028-06-01 |  |  |  |  | 887.0727
2028-07-01 |  |  |  |  | 887.0727
2028-08-01 |  |  |  |  | 943.9858
2028-09-01 |  |  |  |  | 1042.562
2028-10-01 |  |  |  |  | 1156.388
2028-11-01 |  |  |  |  | 1248.6894
2028-12-01 |  |  |  |  | 1305.3179
2029-01-01 |  |  |  |  | 1305.3179
2029-02-01 |  |  |  |  | 1248.6894
2029-03-01 |  |  |  |  | 1150.6061
2029-04-01 |  |  |  |  | 1037.3492
2029-05-01 |  |  |  |  | 939.2658
2029-06-01 |  |  |  |  | 882.6374
2029-07-01 |  |  |  |  | 882.6374
2029-08-01 |  |  |  |  | 939.2658
2029-09-01 |  |  |  |  | 1037.3492
2029-10-01 |  |  |  |  | 1150.6061
2029-11-01 |  |  |  |  | 1242.446
2029-12-01 |  |  |  |  | 1298.7913
2030-01-01 |  |  |  |  | 1298.7913
2030-02-01 |  |  |  |  | 1242.446
2030-03-01 |  |  |  |  | 1144.853
2030-04-01 |  |  |  |  | 1032.1624
2030-05-01 |  |  |  |  | 934.5695
2030-06-01 |  |  |  |  | 878.2242
2030-07-01 |  |  |  |  | 878.2242
2030-08-01 |  |  |  |  | 934.5695
2030-09-01 |  |  |  |  | 1032.1624
2030-10-01 |  |  |  |  | 1144.853
2030-11-01 |  |  |  |  | 1236.2337
2030-12-01 |  |  |  |  | 1292.2973
2031-01-01 |  |  |  |  | 1292.2973
2031-02-01 |  |  |  |  | 1236.2337
2031-03-01 |  |  |  |  | 1139.1288
2031-04-01 |  |  |  |  | 1027.0016
2031-05-01 |  |  |  |  | 929.8966
2031-06-01 |  |  |  |  | 873.8331
2031-07-01 |  |  |  |  | 873.8331
2031-08-01 |  |  |  |  | 929.8966
2031-09-01 |  |  |  |  | 1027.0016
2031-10-01 |  |  |  |  | 1139.1288
Totals so far | 0 | 0 | 0 | [5 empty] | 0
Months logged | 0
Months flagged | 0

## Example Log
Example Log
18 months of an example system (7.8 kW, Johannesburg). Note August 2027.
Month | Solar produced (kWh) | Bought from grid (kWh) | Exported (kWh) | Notes (weather, cleaning, changes) | Expected solar (kWh) | % of expected | Same month last year (kWh) | Change vs last year | Estimated saving | Check
2026-11-01 | 1218 | 352 | 512 |  | 1261.2706 | 96.57% |  |  | 2703.98 | OK
2026-12-01 | 1297 | 356 | 545 |  | 1318.4696 | 98.37% |  |  | 2880.16 | OK
2027-01-01 | 1134 | 375 | 476 | Very cloudy month | 1318.4696 | 86.01% |  |  | 2520.14 | CHECK: 14% below expected
2027-02-01 | 1313 | 405 | 551 |  | 1261.2706 | 104.1% |  |  | 2918.46 | OK
2027-03-01 | 1190 | 361 | 500 |  | 1162.199 | 102.4% |  |  | 2642.7 | OK
2027-04-01 | 1047 | 365 | 440 |  | 1047.801 | 99.92% |  |  | 2324.81 | OK
2027-05-01 | 910 | 634 | 382 |  | 948.7294 | 95.92% |  |  | 2022.24 | OK
2027-06-01 | 859 | 747 | 361 |  | 891.5304 | 96.35% |  |  | 1907.34 | OK
2027-07-01 | 919 | 731 | 386 |  | 891.5304 | 103.1% |  |  | 2041.39 | OK
2027-08-01 | 740 | 646 | 311 | Lower than usual | 948.7294 | 78% |  |  | 1643.07 | CHECK: 22% below expected
2027-09-01 | 1048 | 392 | 440 | Panels cleaned 3 Sep (dusty winter) | 1047.801 | 100% |  |  | 2328.64 | OK
2027-10-01 | 1186 | 410 | 498 |  | 1162.199 | 102% |  |  | 2635.04 | OK
2027-11-01 | 1301 | 351 | 546 |  | 1254.9642 | 103.7% | 1218 | 6.814% | 2891.65 | OK
2027-12-01 | 1321 | 396 | 555 |  | 1311.8773 | 100.7% | 1297 | 1.85% | 2933.78 | OK
2028-01-01 | 1306 | 358 | 549 |  | 1311.8773 | 99.55% | 1134 | 15.17% | 2899.31 | OK
2028-02-01 | 1245 | 351 | 523 |  | 1254.9642 | 99.21% | 1313 | -5.179% | 2765.26 | OK
2028-03-01 | 1206 | 410 | 507 |  | 1156.388 | 104.3% | 1190 | 1.345% | 2677.17 | OK
2028-04-01 | 1043 | 367 | 438 |  | 1042.562 | 100% | 1047 | -0.382% | 2317.15 | OK
2028-05-01 |  |  |  |  | 943.9858 |  | 910
2028-06-01 |  |  |  |  | 887.0727 |  | 859
2028-07-01 |  |  |  |  | 887.0727 |  | 919
2028-08-01 |  |  |  |  | 943.9858 |  | 740
2028-09-01 |  |  |  |  | 1042.562 |  | 1048
2028-10-01 |  |  |  |  | 1156.388 |  | 1186
2028-11-01 |  |  |  |  | 1248.6894 |  | 1301
2028-12-01 |  |  |  |  | 1305.3179 |  | 1321
2029-01-01 |  |  |  |  | 1305.3179 |  | 1306
2029-02-01 |  |  |  |  | 1248.6894 |  | 1245
2029-03-01 |  |  |  |  | 1150.6061 |  | 1206
2029-04-01 |  |  |  |  | 1037.3492 |  | 1043
2029-05-01 |  |  |  |  | 939.2658
2029-06-01 |  |  |  |  | 882.6374
2029-07-01 |  |  |  |  | 882.6374
2029-08-01 |  |  |  |  | 939.2658
2029-09-01 |  |  |  |  | 1037.3492
2029-10-01 |  |  |  |  | 1150.6061
2029-11-01 |  |  |  |  | 1242.446
2029-12-01 |  |  |  |  | 1298.7913
2030-01-01 |  |  |  |  | 1298.7913
2030-02-01 |  |  |  |  | 1242.446
2030-03-01 |  |  |  |  | 1144.853
2030-04-01 |  |  |  |  | 1032.1624
2030-05-01 |  |  |  |  | 934.5695
2030-06-01 |  |  |  |  | 878.2242
2030-07-01 |  |  |  |  | 878.2242
2030-08-01 |  |  |  |  | 934.5695
2030-09-01 |  |  |  |  | 1032.1624
2030-10-01 |  |  |  |  | 1144.853
2030-11-01 |  |  |  |  | 1236.2337
2030-12-01 |  |  |  |  | 1292.2973
2031-01-01 |  |  |  |  | 1292.2973
2031-02-01 |  |  |  |  | 1236.2337
2031-03-01 |  |  |  |  | 1139.1288
2031-04-01 |  |  |  |  | 1027.0016
2031-05-01 |  |  |  |  | 929.8966
2031-06-01 |  |  |  |  | 873.8331
2031-07-01 |  |  |  |  | 873.8331
2031-08-01 |  |  |  |  | 929.8966
2031-09-01 |  |  |  |  | 1027.0016
2031-10-01 |  |  |  |  | 1139.1288
Totals so far | 20283 | 8007 | 8520 | [5 empty] | 45052.29
Months logged | 18
Months flagged | 2

## Maintenance
Maintenance Schedule
Record when you last did each task; it shows what's coming up
Task | Every (months) | Last done | Next due | Status | Notes / who did it
Record numbers in the Monthly Log | 1 |  |  | Not recorded yet
Glance at inverter and battery: warning lights, noises, smells, heat | 1 |  |  | Not recorded yet
Check panels from the ground: dirt, bird droppings, new shading | 6 |  |  | Not recorded yet
Keep inverter and battery vents clear of dust | 6 |  |  | Not recorded yet
Check inverter software is up to date | 6 |  |  | Not recorded yet
Clean panels if visibly dirty (professional, or from the ground) | 12 |  |  | Not recorded yet
Trim trees that shade the panels | 12 |  |  | Not recorded yet
Check roof space for rodents and damaged conduit | 12 |  |  | Not recorded yet
Test backup: switch off the grid supply and check essential circuits stay on | 12 |  |  | Not recorded yet
Installer inspection: tighten connections, check isolators and surge protection | 30 |  |  | Not recorded yet
Installer inspection: test earth connections on frames, inverter and every battery | 30 |  |  | Not recorded yet
Installer review of battery health and inverter settings | 30 |  |  | Not recorded yet
Also after any change: whenever batteries are added, check the inverter's battery charge and discharge limits, cables and fused isolator (Chapter 5).
Stay off the roof. Use a professional for roof work and cleaning.
Formulas:
Next due = IF([Last done]="","",EDATE([Last done],[Every (months)]))
Status = IF([Last done]="","Not recorded yet",IF([Next due]<TODAY(),"OVERDUE by "&(TODAY()-[Next due])&" days",IF([Next due]-TODAY()<=30,"DUE SOON ("&TEXT([Next due],"dd mmm")&")","OK")))

## Fault Log
Fault Log
Record any fault, error code or repair
Date | What happened | Fault / error code | What was done | Who fixed it | Cost | Under warranty? (Y/N)
Photograph the fault code and keep your installer's report with this log. Never open the inverter or battery.